DIAPER CHANGING STATION – 100SSC

\*\* NOTE TO SPECIFIER \*\* Foundations Worldwide, Inc.; diaper changing stations and furniture.  
.  
This section is based on the products of Foundations Worldwide, Inc., which is located at:  
5216 Portside Dr,  
Medina, OH 44256  
Toll Free Tel: 877-716-2757  
Tel: 330-722-5033  
Fax: 330-722-5037  
Email:[request info (info@foundations.com)](http://admin.arcat.com/users.pl?action=UserEmail&company=Foundations+Worldwide,+Inc.&coid=31077&rep=&fax=330-722-5037&message=RE:%20Spec%20Question%20(10812fwi):%20%20&mf=)  
Web:[www.foundations.com/changing-stations](http://www.foundations.com/changing-stations)  
[[Click Here](http://www.arcat.com/arcatcos/cos31/arc31077.html)] for additional information.  
Foundations is the foremost supplier of diaper changing stations and cribs to child care centers and hotels in the US. More major hotel chains and child care chains specify Foundations cribs than any other brand of cribs. We focus our product development on high use commercial environments where safety, ease of use, durability, and comfort are paramount. Our products are designed and engineered from the ground up with these applications in mind. They are not simply a consumer grade product that happens to also be sold to commercial users.  
All Foundations products meet mandatory safety standards published by the Consumer Products Safety Commission as well as all voluntary standards published by ASTM. Additionally, Foundations ensures that all our products meet the CPSC CFR 1633 Fire Standard. You can rest assured when you choose a Foundations product that it meets the highest expectations.  
.

1. GENERAL
   1. SECTION INCLUDES

\*\* NOTE TO SPECIFIER \*\* Delete items below not required for project.

* + 1. Diaper changing stations.
  1. SUBMITTALS
     1. Product Data: Manufacturer's data sheets on each product to be used, including:
        1. Preparation instructions and recommendations.
        2. Storage and handling requirements and recommendations.
        3. Installation methods.
  2. DELIVERY, STORAGE, AND HANDLING
     1. Store products in manufacturer's unopened packaging until ready for installation.
  3. PROJECT CONDITIONS
     1. Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's recommended limits.
  4. WARRANTY
     1. Warranty: Provide manufacture's standard limited 5-year warranty. All warranties are effective from the date of initial shipment from manufacturer.

1. PRODUCTS
   1. MANUFACTURERS
      1. Acceptable Manufacturer: Foundations Worldwide, Inc., which is located at: 5216 Portside Dr,; Medina, OH 44256 ; Toll Free Tel: 877-716-2757; Tel: 330-722-5033; Fax: 330-722-5037; Email:[request info (info@foundations.com)](http://admin.arcat.com/users.pl?action=UserEmail&company=Foundations+Worldwide,+Inc.&coid=31077&rep=&fax=330-722-5037&message=RE:%20Spec%20Question%20(10812fwi):%20%20&mf=); Web:[www.foundations.com/changing-stations](http://www.foundations.com/changing-stations)

\*\* NOTE TO SPECIFIER \*\* Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

* + 1. Substitutions: Not permitted.
  1. DIAPER CHANGING STATIONS
     1. Diaper changing stations shall meet ASTM safety standards, include ANSI warning labels, and shall be ADA compliant when installed.

\*\* NOTE TO SPECIFIER \*\* Changing stations are made from durable, easy to clean, high density polyethylene which is inherently bacterial resistant. Clean design fits virtually all decors and is excellent for cost conscious customers. All models are ADA compliant when properly installed and include built-in liner dispensers, all necessary mounting hardware, safety strap and buckle. EZ Mount#&153; Backer Plate optional. Delete if not required.

\*\* NOTE TO SPECIFIER \*\* Combines 100EH polyethylene horizontal changing station with a brushed 304 stainless steel shell to deliver upscale appearance for high finish facilities. Offers all the same features as 100-EH. Delete if not required.

* + 1. Clad Stainless Steel Diaper Changing Station:
       1. Product: 100-SSC-R - Clad Stainless Steel Diaper Changing Station (Recessed) as manufactured by Foundations Worldwide, Inc.
          1. Rough-in dimension for recessed model is 35.625 inches W by 19.625 inches H (905 mm W by 498 mm).
          2. Changing surface extends 13.1875 inches (335 mm) from wall in open position.
       2. Product: 100-SSC-SM - Clad Stainless Steel Diaper Changing Station (Surface Mounted) as manufactured by Foundations Worldwide, Inc.
          1. Required mounting surface 21.375 inches (543 mm) high by 34.75 inches (883 mm) wide.
          2. Changing surface extends 17.1875 inches (437 mm) from wall in open position.
       3. Constructed of heavy-duty type 304 brushed stainless steel.
       4. Pneumatic gas spring provides easy and safe open/close operation.
       5. One-hand operation safety strap.
       6. Cushioned safety corners.

\*\* NOTE TO SPECIFIER \*\* Foundations offers the only fully stainless steel fabricated changing station line available in the market today. Entire structure is made of 304 brushed stainless steel for high use, high finish facilities where the ultimate in durability and beauty is required. Full stainless models are available in both vertical and horizontal configurations as well as surface mount and recessed mount options to accommodate virtually any application. All models are equipped with replaceable high gloss, durable ABS tray that is inherently bacterial resistant. All models are ADA and ANSI compliant when properly installed, feature cushioned safety corners, pneumatic gas springs for safe and easy open and close. Delete type not required.

\*\* NOTE TO SPECIFIER \*\* Provides safe, clean and secure location for child while adult is changing another child or using facilities. Can also be used as a convenient place to feed a child. Delete if not required.

1. EXECUTION
   1. EXAMINATION
      1. Do not begin installation until substrates have been properly prepared.
      2. If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.
   2. PREPARATION
      1. Clean surfaces thoroughly prior to installation.
      2. Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.
   3. INSTALLATION
      1. Install in accordance with manufacturer's instructions.
   4. PROTECTION
      1. Protect installed products until completion of project.
      2. Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION